## TOC
| RISK ASSESSMENT | Document Ref. | WS.RA.TOC
|  | Issue Status | VER 1
|  | Issue Date | 2020-01-20
| Table of Contents | Issued by | Neil Curtis
|  | Review Date | 2021-01-19
|  | Page | 1 | of | 1
LOCATION
ROOM | SCOPE | REFERENCE | VER | DATED
Foyer / Reception Entrance | Building Risk Assessment For Foyer | WS.RA.FR | 1 | 01.11.19
Groung Floor Training | Building Risk Assessment For Training Room | WS.RA.TR | 1 | 01.11.19
Main Hall | Building Risk Assessment For Main Hall | WS.RA.MHL | 1 | 01.11.19
Kitchen | Building Risk Assessment For Kitchen | WS.RA.KTN | 1 | 01.11.19
Toilets | Building Risk Assessment For Toilets | WS.RA.TLT | 1 | 01.11.19
Cellar | Building Risk Assessment For Cellar | WS.RA.CLR | 1 | 01.11.19
Stairs Balcony | Building Risk Assessment For Stairs / Balcony | WS.RA.BAL | 1 | 01.11.19
Appointment | Building Risk Assessment For Appointment Room (1st Floor) | WS.RA.AR | 1 | 01.11.19
Resources | Building Risk Assessment For Resources (1st Floor) | WS.RA.RR | 1 | 01.11.19
Shop | Building Risk Assessment For Shop / Fitting Room (1st Floor) | WS.RA.SR | 1 | 01.11.19
1st Floor Training Rear | Building Risk Assessment For Rear Training Room (1st Floor) | WS.RA.TRR | 1 | 01.11.19
Car Park | Building Risk Assessment For Car Park | WS.RA.CP | 1 | 01.11.19
SAFETY
RISK TYPE | SCOPE | REFERENCE | VER | DATED
Electrical | Electrical Equipment and Electrical Reactive Maintenance | WS.RA.E | 1 | 01.11.19
Gas | Gas Equipment and Gas Reactive Maintenance | WS.RA.G | 1 | 01.11.19
Manual Handling | Manual Handling of Scouting Equipment | WS.RA.MH | 1 | 01.11.19

## Foyer Reception
|  | RISK ASSESSMENT | [6 empty] | Document Reference
WS.RA.FR
Foyer / Reception
Activity | Hazards | Risks | UNCONTROLLED Risk Levels |  |  |  | Description of controls |  | CONTROLLED Risk Levels
|  |  |  | LIKELIHOOD | [5 empty] | LIKELIHOOD
Entrance Reception Area to Scout Headquarters | Wet / Dirty Floor | Slip Trip & Fall Causing Musculoskeletal Injuries |  |  |  |  | l | Liquid spillages to be cleaned immediately
|  |  |  | Most Likely | 5 | ü | l | Floors to be kept swept and clear of obstructions |  | Most Likely | 5
|  | Spread of infectious diseases |  | Likely | 4 |  |  |  |  | Likely | 4
|  |  |  | Possible | 3 |  | l | Waste to be emptied by each building user |  | Possible | 3
|  |  |  | Unlikely | 2 |  |  |  |  | Unlikely | 2
| Stairs | Falls From Height |  | Very Unlikely | 1 |  | l | Use of handrail when travelling up and down stairs. |  | Very Unlikely | 1 | ü
Injury including Death, Head Injuries, Broken or Fractured Bones and or Bruising
[7 empty] | l | No young people are to go upstairs without close supervision from adult volunteers.
|  |  |  | SEVERITY | [5 empty] | SEVERITY
[7 empty] | l | Care to be taken to only carry suitable amount of items up/down in order to be able to still use handrail
| Electricity | Electric Shock through faulty equipment, electrical work or by inserting objects into plugs |  | Extreme | 5 |  |  |  |  | Extreme | 5
|  |  |  | Major | 4 | ü |  |  |  | Major | 4 | ü
|  |  |  | Moderate | 3 |  | l | All plugs to be switched off when not in use. All mains equipment to be PAT tested annually. Electrical work will be undertaken by suitably qualified contractor. All young people to be supervised when using electrical equipment. |  | Moderate | 3
|  |  |  | Minor | 2 |  |  |  |  | Minor | 2
|  |  |  | Negligible | 1 |  |  |  |  | Negligible | 1
| Store Room | Items falling onto users from height, trips slips & falls. Heavy lifting
|  |  |  | Risk Score deduced by multiplying Likelihood by Consequence | [5 empty] | Risk Score deduced by multiplying Likelihood by Consequence
[7 empty] | l | No heavy or bulky items to be stored on top shelf of racking. Floor to be kept clear of obstructions and boxes to be stored on shelving units when not in use. If a heavier item is required the load should be assessed and appropriate number of people used to carry.
| Windows Glass Panel | Cuts & Lacerations |  | Risk Score | 20 |  |  |  |  | Risk Score | 4
| Fire | Death, Burns or serious injury. |  | Less than or equal to 5 | LOW |  |  |  |  | Less than or equal to 5 | LOW
|  |  |  | Between 6 and 12 | MEDIUM |  |  |  |  | Between 6 and 12 | MEDIUM
|  |  |  | Above 12 | HIGH |  | l | Safety glass to be used |  | Above 12 | HIGH
|  |  |  | UNCONTROLLED Risk Level | HIGH |  | l | All defects to be reported to the site manager. Area to be inspected |  | CONTROLLED Risk Level | LOW
routinely by caretaker.
[7 empty] | l | Adequate fire extinguishers to be in place
|  |  | AFFECTED INDIVIDUALS |  |  |  | Additional Measures
Please note this risk assessment only covers risks that are inherent to the building and do not cover any activities that take place within. All activities (including building work) should be covered by specific risk assessments generated by those who are responsible for the activity. | [6 empty] | WS.RA.KTN - KITCHEN WS.RA.BAL - BALCONY WS.RA.E - Safety - Electrical WS.RA.G - Safety - Gas WS.RA.MH - Safety - Manual Handling
|  |  |  | Young People | ü
|  |  |  | Adult Leaders | ü
|  |  |  | Adults | ü
|  |  |  | Visitors | ü
|  |  |  | Delivery Personnel | ü
Others (specify)
[7 empty] | Document Reference |  | WS.RA.FR
[7 empty] | Issue Status |  | Ver 1
[7 empty] | Issue Date |  | 2019-11-01
[7 empty] | Issued by |  | Neil Curtis
[7 empty] | Review Date |  | 2020-10-31
Issuers Signature
NB: This document and any amendments must be retained for a minimum of 5 years. In the event of an incident involving an individual aged 18 years or less this documentation must be retained until the individual reaches 21 years of age, this requirement overrides the minimum 5 year rule.

## Training Room
|  | RISK ASSESSMENT | [6 empty] | Document Reference
WS.RA.TR
Training Room
Activity | Hazards | Risks | UNCONTROLLED Risk Levels |  |  |  | Description of controls |  | CONTROLLED Risk Levels
|  |  |  | LIKELIHOOD | [5 empty] | LIKELIHOOD
Training Room |  | Slip Trip & Fall Causing Musculoskeletal Injuries |  |  |  |  | l | Liquid spillages to be cleaned immediately
Trailing Cables
| Furniture |  |  | Most Likely | 5 | ü | l | Floors to be swept and clear of obstructions |  | Most Likely | 5
| Carpet | Spread of infectious diseases |  | Likely | 4 |  |  |  |  | Likely | 4
| Spillage |  |  | Possible | 3 |  | l | Waste to be emptied by each building user |  | Possible | 3
|  |  |  | Unlikely | 2 |  |  |  |  | Unlikely | 2
| Electricity | Risk of electrocution from electrical equipment in the room |  | Very Unlikely | 1 |  | l | All plugs to be switched off when not in use. All mains equipment to be PAT tested annually. Electrical work will be undertaken by suitably qualified contractor. All young people to be supervised when using electrical equipment. |  | Very Unlikely | 1 | ü
|  |  |  | SEVERITY | [5 empty] | SEVERITY
| Manual Handling Heavy Equipment or other objects | Various physical injuries could occur due to any of the potential hazards:-Ligament Damage, Tendon Damage, Muscle Strain |  |  |  |  | l | Furniture to be stored correctly and inspected routinely
|  |  |  | Extreme | 5 |  |  |  |  | Extreme | 5
|  |  |  | Major | 4 | ü | l | All defects to be reported in defect book and inform site manager. Area to be inspected routinely |  | Major | 4 | ü
| Faulty furniture i.e. broken legs, sharp edges etc |  |  | Moderate | 3 |  |  |  |  | Moderate | 3
|  |  |  | Minor | 2 |  |  |  |  | Minor | 2
|  |  |  | Negligible | 1 |  | l | Safety glass to be used |  | Negligible | 1
| Windows Glass Panel | Cuts & Lacerations
|  |  |  | Risk Score deduced by multiplying Likelihood by Consequence |  |  | l | Ensure no trailing cables |  | Risk Score deduced by multiplying Likelihood by Consequence
| Fire | Death, Burns or serious injury.
|  |  |  | Risk Score | 20 |  |  |  |  | Risk Score | 4
|  |  |  | Less than or equal to 5 | LOW |  |  |  |  | Less than or equal to 5 | LOW
|  |  |  | Between 6 and 12 | MEDIUM |  |  |  |  | Between 6 and 12 | MEDIUM
|  |  |  | Above 12 | HIGH |  |  |  |  | Above 12 | HIGH
|  |  |  | UNCONTROLLED Risk Level | HIGH |  |  |  |  | CONTROLLED Risk Level | LOW
|  |  | AFFECTED INDIVIDUALS |  |  |  | Additional Measures
Please note this risk assessment only covers risks that are inherent to the building and do not cover any activities that take place within. All activities (including building work) should be covered by specific risk assessments generated by those who are responsible for the activity. | [6 empty] | WS.RA.KTN - KITCHEN WS.RA.E - Safety - Electrical WS.RA.G - Safety - Gas WS.RA.MH - Safety - Manual Handling
|  |  |  | Young People | ü
|  |  |  | Adult Leaders | ü
|  |  |  | Adults | ü
|  |  |  | Visitors | ü
Delivery Personnel
[7 empty] | Document Reference |  | WS.RA.TR
[7 empty] | Issue Status |  | Ver 1
[7 empty] | Issue Date |  | 2019-11-01
[7 empty] | Issued by |  | Neil Curtis
[7 empty] | Review Date |  | 2020-10-31
Issuers Signature
NB: This document and any amendments must be retained for a minimum of 5 years. In the event of an incident involving an individual aged 18 years or less this documentation must be retained until the individual reaches 21 years of age, this requirement overrides the minimum 5 year rule.

## Main Hall
|  | RISK ASSESSMENT | [6 empty] | Document Reference
WS.RA.MHL
Main Hall
Activity | Hazards | Risks | UNCONTROLLED Risk Levels |  |  |  | Description of controls |  | CONTROLLED Risk Levels
|  |  |  | LIKELIHOOD |  |  | l | Floors to be swept, clear of any obstructions and liquid |  | LIKELIHOOD
Main Hall | Wet / Dirty Floor | Slip Trip & Fall Causing Musculoskeletal Injuries | [5 empty] | spillages to be cleaned immediately and warning signage
| Trailing Cables | [6 empty] | displayed.
| Furniture |  |  | Most Likely | 5 | ü |  |  |  | Most Likely | 5
| Damage Floor | Spread of infectious diseases |  | Likely | 4 |  | l | All plugs to be switched off when not in use. All mains |  | Likely | 4
| Spillage |  |  | Possible | 3 |  |  | equipment to be PAT tested annually. Electrical work will be |  | Possible | 3
|  |  |  | Unlikely | 2 |  |  | undertaken by suitably qualified contractor. All young people |  | Unlikely | 2
| Electricity | Risk of electrocution from electrical equipment in the room |  | Very Unlikely | 1 |  |  | to be supervised when using electrical equipment. |  | Very Unlikely | 1 | ü
[7 empty] | l | All furniture to be stored correctly and inspected routinely &
|  |  |  | SEVERITY |  |  |  | any defective items found are labelled and removed from use. |  | SEVERITY
| Manual Handling Heavy Equipment or other objects | Various physical injuries could occur due to any of the potential hazards:-Ligament Damage, Tendon Damage, Muscle Strain |  |  |  |  | l | Main Hall to be inspected regularly by caretaker and defects
|  |  |  | Extreme | 5 |  |  | to be reported to the site manager. |  | Extreme | 5
|  |  |  | Major | 4 | ü |  |  |  | Major | 4 | ü
| Faulty furniture i.e. broken legs, sharp edges etc |  |  | Moderate | 3 |  | l | Gas space heater to be service annually by a Gas Safe |  | Moderate | 3
|  |  |  | Minor | 2 |  |  | approved and registered engineer |  | Minor | 2
|  |  |  | Negligible | 1 |  |  |  |  | Negligible | 1
| Windows Glass Panel | Cuts & Lacerations |  |  |  |  | l | Ensure hatch is secure and restrained
|  |  |  | Risk Score deduced by multiplying Likelihood by Consequence | [5 empty] | Risk Score deduced by multiplying Likelihood by Consequence
| Climbing Wall | Fall from height |  |  |  |  | l | Safety glass to be used
| Fire | Death, burns or serious injury. |  | Risk Score | 20 |  | l | Fire exit door to be clear of any obstructions |  | Risk Score | 4
|  |  |  | Less than or equal to 5 | LOW |  | l | Unauthorised use of climbing wall is not permitted |  | Less than or equal to 5 | LOW
| Gas space heater | Carbon monoxide |  | Between 6 and 12 | MEDIUM |  |  |  |  | Between 6 and 12 | MEDIUM
|  | (asphyxiation) |  | Above 12 | HIGH |  | l | Trailing & excess cable to be avoided at all times |  | Above 12 | HIGH
| Hatch (to kitchen) |  |  | UNCONTROLLED Risk Level | HIGH |  | l | Adequate fire extinguishers to be in place |  | CONTROLLED Risk Level | LOW
|  |  | AFFECTED INDIVIDUALS |  |  |  | Additional Measures
Please note this risk assessment only covers risks that are inherent to the building and do not cover any activities that take place within. All activities (including building work) should be covered by specific risk assessments generated by those who are responsible for the activity. | [6 empty] | WS.RA.FR - FOYER RECEPTION WS.RA.KTN - KITCHEN WS.RA.G - GAS WS.RA.E - ELECTRICITY WS.RA.MH - MANUAL HANDLING
|  |  |  | Young People | ü
|  |  |  | Adult Leaders | ü
|  |  |  | Adults | ü
|  |  |  | Visitors | ü
Delivery Personnel
[7 empty] | Document Reference |  | WS.RA.MHL
[7 empty] | Issue Status |  | Ver 1
[7 empty] | Issue Date |  | 2019-11-01
[7 empty] | Issued by |  | Neil Curtis
[7 empty] | Review Date |  | 2020-10-31
Issuers Signature
NB: This document and any amendments must be retained for a minimum of 5 years. In the event of an incident involving an individual aged 18 years or less this documentation must be retained until the individual reaches 21 years of age, this requirement overrides the minimum 5 year rule.

## Kitchen
|  | RISK ASSESSMENT | [6 empty] | Document Reference
WS.RA.KTN
Kitchen
Activity | Hazards | Risks | UNCONTROLLED Risk Levels |  |  |  | Description of controls |  | CONTROLLED Risk Levels
|  |  |  | LIKELIHOOD |  |  | l | Floors to be swept/mopped, clear of any obstructions and |  | LIKELIHOOD
Kitchen | Wet / Dirty Floor | Slip Trip & Fall Causing Musculoskeletal Injuries | [5 empty] | liquid spillages to be cleaned immediately and warning
| Trailing Cables | [6 empty] | signage displayed.
| Spillage | Spread of diseases |  | Most Likely | 5 | ü | l | Waste to be emptied and removed by each building user |  | Most Likely | 5
|  |  |  | Likely | 4 |  | l | All plugs to be switched off when not in use. All mains |  | Likely | 4
| Electricity | Risk of electrocution from electrical equipment in the room |  | Possible | 3 |  |  | equipment to be PAT tested annually. Electrical work will be |  | Possible | 3
|  |  |  | Unlikely | 2 |  |  | undertaken by suitably qualified contractor. All young people |  | Unlikely | 2
|  |  |  | Very Unlikely | 1 |  |  | to be supervised when using electrical equipment. |  | Very Unlikely | 1 | ü
| Hot Surfaces | Burns and Scalds |  |  |  |  | l | Ensure extraction fan is in operation when gas oven range is
| Sharp Knives | Cuts & Lacerations | [5 empty] | in use. Warning Signage To Be Clearly Displayed
| Hot Water | Scalds |  | SEVERITY |  |  | l | Ensure carbon monoxide detector is in operation and tested. |  | SEVERITY
| Manual Handling Heavy Equipment or other objects | Various physical injuries:-Ligament Damage, Tendon Damage, Muscle Strain |  |  |  |  | l | Heat proof oven gloves to be provided.
[7 empty] | l | Drip tray to be located correctly under tap of urn.
|  |  |  | Extreme | 5 |  |  | towels provided and use caution when plate warmer is on . |  | Extreme | 5
|  |  |  | Major | 4 | ü | l | Separate knife drawer. (Can be locked in a leaders cupboard |  | Major | 4 | ü
| Gas (Oven) | Leaks, explosion, injury, damage to building, Asphyxia due to inadequate ventilation |  | Moderate | 3 |  |  | if desired) |  | Moderate | 3
| Gas Combi Boiler |  |  | Minor | 2 |  | l | Suitable first aid box to be provided in kitchen. |  | Minor | 2
| (Carbon Monoxide) |  |  | Negligible | 1 |  | l | Manual handling techniques to be used at all times |  | Negligible | 1
[7 empty] | l | Restricted access to young people.
|  |  |  | Risk Score deduced by multiplying Likelihood by Consequence |  |  | l | Gas combi heater to be service annually by a Gas Safe |  | Risk Score deduced by multiplying Likelihood by Consequence
| Naked Flame | Burns from naked flames or hot surface. | [5 empty] | approved and registered engineer.
[7 empty] | l | Dedicated food safe, separate chopping boards to be
|  |  |  | Risk Score | 20 |  |  | provided to avoid cross contamination. |  | Risk Score | 4
| Fire | Death, Burns or serious injury. |  |  |  |  | l | Work surfaces to be cleaned down and sanitised after use.
|  |  |  | Less than or equal to 5 | LOW |  | l | Adequate fire extinguisher & fire blankets to be in place. |  | Less than or equal to 5 | LOW
|  |  |  | Between 6 and 12 | MEDIUM |  | l | Kitchen hygiene cleaning schedule to be implemented |  | Between 6 and 12 | MEDIUM
| Cleaning Chemicals | Irritation, poisoning |  | Above 12 | HIGH |  | l | Kitchen to be inspected regularly by caretaker and defects |  | Above 12 | HIGH
to be reported to the site manager.
| Food Poisioning | Upset stomach, vomiting and food poisoning |  | UNCONTROLLED Risk Level | HIGH |  | l | As per legionella risk management plan, ensure weekly flushing open all water taps |  | CONTROLLED Risk Level | LOW
| Poor Hygiene | [6 empty] | and allow water to flow for 3 mins every month or if building
has been closed or not in use for 2 weeks.
|  |  | AFFECTED INDIVIDUALS |  |  |  | Additional Measures
Please note this risk assessment only covers risks that are inherent to the building and do not cover any activities that take place within. All activities (including building work) should be covered by specific risk assessments generated by those who are responsible for the activity. | [6 empty] | WS.RA.FR - FOYER / RECEPTION WS.RA.MHL - MAIN HALL WS.RA.E - Safety - Electrical WS.RA.G - Safety - Gas WS.RA.MH - Safety - Manual Handling
|  |  |  | Young People | ü
|  |  |  | Adult Leaders | ü
|  |  |  | Adults | ü
|  |  |  | Visitors | ü
Delivery Personnel
[7 empty] | Document Reference |  | WS.RA.KTN
[7 empty] | Issue Status |  | Ver 1
[7 empty] | Issue Date |  | 2019-11-01
[7 empty] | Issued by |  | Neil Curtis
[7 empty] | Review Date |  | 2020-10-31
Issuers Signature
NB: This document and any amendments must be retained for a minimum of 5 years. In the event of an incident involving an individual aged 18 years or less this documentation must be retained until the individual reaches 21 years of age, this requirement overrides the minimum 5 year rule.

## Toilets
|  | RISK ASSESSMENT | [6 empty] | Document Reference
WS.RA.TLT
Toilets
Activity | Hazards | Risks | UNCONTROLLED Risk Levels |  |  |  | Description of controls |  | CONTROLLED Risk Levels
|  |  |  | LIKELIHOOD |  |  | l | Floors to be swept/mopped using dedicated items, clear of |  | LIKELIHOOD
Toilets | Wet / Dirty Floor | Slip Trip & Fall Causing Musculoskeletal Injuries | [5 empty] | any obstructions and liquid spillages to be cleaned
immediately and warning signage displayed.
|  |  |  | Most Likely | 5 |  |  |  |  | Most Likely | 5
| Urinals Overflowing | Spread of infectious diseases |  | Likely | 4 | ü | l | Waste to be emptied by each building user |  | Likely | 4
| Spillage |  |  | Possible | 3 |  |  |  |  | Possible | 3
|  |  |  | Unlikely | 2 |  | l | All plugs to be switched off when not in use. All mains equipment to be PAT tested annually. Electrical work will be undertaken by suitably qualified contractor. All young people to be supervised when using electrical equipment. |  | Unlikely | 2
| Electricity | Risk of electrocution from electrical equipment in the room |  | Very Unlikely | 1 |  |  |  |  | Very Unlikely | 1 | ü
|  |  |  | SEVERITY | [5 empty] | SEVERITY
| Hot Water | Scalds |  |  |  |  | l | Hot Water warning signs above sinks
| Bodily Fluid | Risk of infection |  | Extreme | 5 |  | l | Toilet to be inspected regularly by caretaker and defects to |  | Extreme | 5
|  |  |  | Major | 4 | ü |  | be reported to the site manager. |  | Major | 4 | ü
| Waste Bins | Risk of hazardous waste and sharp objects |  | Moderate | 3 |  |  |  |  | Moderate | 3
|  |  |  | Minor | 2 |  | l | Correct storage of hot water (above 60°) and deliver above 50° |  | Minor | 2
|  |  |  | Negligible | 1 |  |  |  |  | Negligible | 1
| Legionella | Infection, breathing difficulties, Death |  |  |  |  | l | As per legionella risk management plan, ensure weekly
|  |  |  | Risk Score deduced by multiplying Likelihood by Consequence |  |  |  | flushing and open all taps to allow water to flow for 3 minutes |  | Risk Score deduced by multiplying Likelihood by Consequence
| Fire | Death, burns or serious injury. |  |  |  |  | l | Children and staff are informed not to place hands in bin and are supervised. Check that the bin is emptied daily and inform DC if any concerns.
|  |  |  | Risk Score | 16 |  |  |  |  | Risk Score | 4
|  |  |  | Less than or equal to 5 | LOW |  |  |  |  | Less than or equal to 5 | LOW
|  |  |  | Between 6 and 12 | MEDIUM |  | l | Hands to be washed prior to leaving toilet |  | Between 6 and 12 | MEDIUM
|  |  |  | Above 12 | HIGH |  |  |  |  | Above 12 | HIGH
|  |  |  | UNCONTROLLED Risk Level | HIGH |  |  |  |  | CONTROLLED Risk Level | LOW
|  |  | AFFECTED INDIVIDUALS |  |  |  | Additional Measures
Please note this risk assessment only covers risks that are inherent to the building and do not cover any activities that take place within. All activities (including building work) should be covered by specific risk assessments generated by those who are responsible for the activity. | [6 empty] | WS.RA.FR - FOYER / RECEPTION WS.RA.E - Safety - Electrical WS.RA.MH - Safety - Manual Handling
|  |  |  | Young People | ü
|  |  |  | Adult Leaders | ü
|  |  |  | Adults | ü
|  |  |  | Visitors | ü
Delivery Personnel
[7 empty] | Document Reference |  | WS.RA.TLT
[7 empty] | Issue Status |  | Ver 1
[7 empty] | Issue Date |  | 2019-11-01
[7 empty] | Issued by |  | Neil Curtis
[7 empty] | Review Date |  | 2020-10-31
Issuers Signature
NB: This document and any amendments must be retained for a minimum of 5 years. In the event of an incident involving an individual aged 18 years or less this documentation must be retained until the individual reaches 21 years of age, this requirement overrides the minimum 5 year rule.

## Cellar
|  | RISK ASSESSMENT | [6 empty] | Document Reference
WS.RA.CLR
Cellar / Basement Store
Activity | Hazards | Risks | UNCONTROLLED Risk Levels |  |  |  | Description of controls |  | CONTROLLED Risk Levels
|  |  |  | LIKELIHOOD | [5 empty] | LIKELIHOOD
Cellar / Basement storage | Wet / Dirty Floor | Slip Trip & Fall Causing Musculoskeletal Injuries |  |  |  |  | l | Floors to be swept/mopped, clear of any obstructions and
| Trailing Cables | [6 empty] | liquid spillages to be cleaned immediately and warning
|  |  |  | Most Likely | 5 | ü |  | signage displayed. |  | Most Likely | 5
| Damage Floor | Spread of infectious diseases |  | Likely | 4 |  |  |  |  | Likely | 4
| Spillage |  |  | Possible | 3 |  | l | Ensure smoke detector is in operation and tested routinely |  | Possible | 3
|  |  |  | Unlikely | 2 |  |  |  |  | Unlikely | 2
| Electricity | Risk of electrocution from electrical equipment in the room |  | Very Unlikely | 1 |  | l | All plugs to be switched off when not in use. All mains equipment to be PAT tested annually. Electrical work will be undertaken by suitably qualified contractor. All young people to be supervised when using electrical equipment. |  | Very Unlikely | 1 | ü
Loh Roof Height
|  |  |  | SEVERITY | [5 empty] | SEVERITY
Wooden Ladder
| Manual Handling Heavy Equipment or other objects | Various physical injuries could occur due to any of the potential hazards:-Ligament Damage, Tendon Damage, Muscle Strain |  |  |  |  | l | Equipment to be stored correctly and inspected routinely
|  |  |  | Extreme | 5 |  |  |  |  | Extreme | 5
|  |  |  | Major | 4 | ü | l | Room defects to be reported in defect book and to site manager. Rooms inspected routinely by caretaker. |  | Major | 4 | ü
| Faulty furniture i.e. broken legs, sharp edges etc |  |  | Moderate | 3 |  |  |  |  | Moderate | 3
|  |  |  | Minor | 2 |  |  |  |  | Minor | 2
|  |  |  | Negligible | 1 |  | l | Ensure young people do not enter cellar basement area |  | Negligible | 1
| Falling of stored equipment | Head neck injuries
|  |  |  | Risk Score deduced by multiplying Likelihood by Consequence |  |  | l | Adequate lighting for access & egress |  | Risk Score deduced by multiplying Likelihood by Consequence
| Low ceiling | Head injuries
[7 empty] | l | Adequate fire extinguishers to be in place
| Steps | Fall from height |  | Risk Score | 20 |  |  |  |  | Risk Score | 4
[7 empty] | l | Ladder acces to be kept clear at all times
| Inadeqaute Ventilation | Asphyxia |  | Less than or equal to 5 | LOW |  |  |  |  | Less than or equal to 5 | LOW
|  |  |  | Between 6 and 12 | MEDIUM |  | l | Pre-inspection check of ladder prior to use |  | Between 6 and 12 | MEDIUM
| Fire | Death, burns or serious injury. |  | Above 12 | HIGH |  |  |  |  | Above 12 | HIGH
| Pioneering |  |  | UNCONTROLLED Risk Level | HIGH |  |  |  |  | CONTROLLED Risk Level | LOW
| Kayaks | Working at Height
|  |  | AFFECTED INDIVIDUALS |  |  |  | Additional Measures
Please note this risk assessment only covers risks that are inherent to the building and do not cover any activities that take place within. All activities (including building work) should be covered by specific risk assessments generated by those who are responsible for the activity. | [6 empty] | WS.RA.E - Safety - Electrical WS.RA.G - Safety - Gas WS.RA.MH - Safety - Manual Handling HSE - Safe Use of Ladders and Step Ladders
|  |  |  | Young People | ü
|  |  |  | Adult Leaders | ü
|  |  |  | Adults | ü
|  |  |  | Visitors | ü
Delivery Personnel
[7 empty] | Document Reference |  | WS.RA.CLR
[7 empty] | Issue Status |  | Ver 1
[7 empty] | Issue Date |  | 2019-11-01
[7 empty] | Issued by |  | Neil Curtis
[7 empty] | Review Date |  | 2020-10-31
Issuers Signature
NB: This document and any amendments must be retained for a minimum of 5 years. In the event of an incident involving an individual aged 18 years or less this documentation must be retained until the individual reaches 21 years of age, this requirement overrides the minimum 5 year rule.

## Balcony Area
|  | RISK ASSESSMENT | [6 empty] | Document Reference
WS.RA.BAL
Upper Balcony / Top of Stairs
Activity | Hazards | Risks | UNCONTROLLED Risk Levels |  |  |  | Description of controls |  | CONTROLLED Risk Levels
|  |  |  | LIKELIHOOD |  |  | l | Floors to be swept/mopped, clear of any obstructions and |  | LIKELIHOOD
Upper Balcony / Top of Stairs | Wet / Dirty Floor | Slip Trip & Fall Causing Musculoskeletal Injuries | [5 empty] | liquid spillages to be cleaned immediately and warning
signage displayed.
|  |  |  | Most Likely | 5 | ü |  |  |  | Most Likely | 5
|  | Spread of infectious diseases |  | Likely | 4 |  | l | Adequate lighting in stair area |  | Likely | 4
|  |  |  | Possible | 3 |  |  |  |  | Possible | 3
|  |  |  | Unlikely | 2 |  | l | Use of handrail when travelling up and down stairs. |  | Unlikely | 2
| Stairs | Falls From Height |  | Very Unlikely | 1 |  |  |  |  | Very Unlikely | 1 | ü
|  | Injury including Death, Head Injuries, Broken or Fractured Bones and or Bruising |  |  |  |  | l | No young people are to go upstairs without close supervision
from adult volunteers.
|  |  |  | SEVERITY | [5 empty] | SEVERITY
[7 empty] | l | Care to be taken to only carry suitable amount of items
up/down in order to be able to still use handrail
| Electricity | Electric Shock through faulty equipment, electrical work or by inserting objects into plugs |  | Extreme | 5 |  |  |  |  | Extreme | 5
|  |  |  | Major | 4 | ü | l | All plugs to be switched off when not in use. All mains |  | Major | 4 | ü
|  |  |  | Moderate | 3 |  |  | equipment to be PAT tested annually. Electrical work will be |  | Moderate | 3
|  |  |  | Minor | 2 |  |  | undertaken by suitably qualified contractor. All young people |  | Minor | 2
|  |  |  | Negligible | 1 |  |  | to be supervised when using electrical equipment. |  | Negligible | 1
| Fire | Death, burns or serious injury.
|  |  |  | Risk Score deduced by multiplying Likelihood by Consequence |  |  | l | Main Hall to be inspected regularly by caretaker and defects |  | Risk Score deduced by multiplying Likelihood by Consequence
to be reported to the site manager.
|  |  |  | Risk Score | 20 |  | l | Adequate fire extinguishers to be in place |  | Risk Score | 4
|  |  |  | Less than or equal to 5 | LOW |  |  |  |  | Less than or equal to 5 | LOW
|  |  |  | Between 6 and 12 | MEDIUM |  |  |  |  | Between 6 and 12 | MEDIUM
|  |  |  | Above 12 | HIGH |  |  |  |  | Above 12 | HIGH
|  |  |  | UNCONTROLLED Risk Level | HIGH |  |  |  |  | CONTROLLED Risk Level | LOW
|  |  | AFFECTED INDIVIDUALS |  |  |  | Additional Measures
Please note this risk assessment only covers risks that are inherent to the building and do not cover any activities that take place within. All activities (including building work) should be covered by specific risk assessments generated by those who are responsible for the activity. | [6 empty] | WS.RA.FR - Foyer Reception WS.RA.E - Safety - Electrical WS.RA.G - Safety - Gas WS.RA.MH - Safety - Manual Handling
|  |  |  | Young People | ü
|  |  |  | Adult Leaders | ü
|  |  |  | Adults | ü
|  |  |  | Visitors | ü
Delivery Personnel
[7 empty] | Document Reference |  | WS.RA.BAL
[7 empty] | Issue Status |  | Ver 1
[7 empty] | Issue Date |  | 2019-11-01
[7 empty] | Issued by |  | Neil Curtis
[7 empty] | Review Date |  | 2020-10-31
Issuers Signature
NB: This document and any amendments must be retained for a minimum of 5 years. In the event of an incident involving an individual aged 18 years or less this documentation must be retained until the individual reaches 21 years of age, this requirement overrides the minimum 5 year rule.

## Appointment Room
|  | RISK ASSESSMENT | [6 empty] | Document Reference
WS.RA.AR
Appointment Room
Activity | Hazards | Risks | UNCONTROLLED Risk Levels |  |  |  | Description of controls |  | CONTROLLED Risk Levels
|  |  |  | LIKELIHOOD |  |  | l | Floors to be swept/mopped, clear of any obstructions and |  | LIKELIHOOD
Appointment Room | [7 empty] | liquid spillages to be cleaned immediately and warning
|  | Slip Trip & Fall Causing Musculoskeletal Injuries | [5 empty] | signage displayed.
| Trailing Cables |  |  | Most Likely | 5 | ü |  |  |  | Most Likely | 5
| Furniture |  |  | Likely | 4 |  | l | Waste to be emptied by each building user |  | Likely | 4
|  |  |  | Possible | 3 |  |  |  |  | Possible | 3
|  |  |  | Unlikely | 2 |  | l | All plugs to be switched off when not in use. All mains |  | Unlikely | 2
| Carpet | Spread of infectious diseases |  | Very Unlikely | 1 |  |  | equipment to be PAT tested annually. Electrical work will be |  | Very Unlikely | 1 | ü
| Spillage | [6 empty] | undertaken by suitably qualified contractor. All young people
to be supervised when using electrical equipment.
|  |  |  | SEVERITY | [5 empty] | SEVERITY
| Electricity | Risk of electrocution from electrical equipment in the room |  |  |  |  | l | All furniture to be stored correctly and inspected routinely &
any defective items found are labelled and removed from use.
|  |  |  | Extreme | 5 |  |  |  |  | Extreme | 5
|  |  |  | Major | 4 | ü | l | Room defects to be reported in defect book and to site manager. Rooms inspected routinely by caretaker. |  | Major | 4 | ü
| Manual Handling Heavy Equipment or other objects | Various physical injuries could occur due to any of the potential hazards:-Ligament Damage, Tendon Damage, Muscle Strain |  | Moderate | 3 |  |  |  |  | Moderate | 3
|  |  |  | Minor | 2 |  |  |  |  | Minor | 2
|  |  |  | Negligible | 1 |  | l | Safety glass to be used |  | Negligible | 1
Faulty furniture i.e. broken legs, sharp edges etc
|  |  |  | Risk Score deduced by multiplying Likelihood by Consequence |  |  | l | Adequate fire extinguishers to be in place |  | Risk Score deduced by multiplying Likelihood by Consequence
|  |  |  | Risk Score | 20 |  |  |  |  | Risk Score | 4
| Windows / Glass | Cuts & Lacerations
|  |  |  | Less than or equal to 5 | LOW |  |  |  |  | Less than or equal to 5 | LOW
| Fire | Death, burns or serious injury. |  | Between 6 and 12 | MEDIUM |  |  |  |  | Between 6 and 12 | MEDIUM
|  |  |  | Above 12 | HIGH |  |  |  |  | Above 12 | HIGH
|  |  |  | UNCONTROLLED Risk Level | HIGH |  |  |  |  | CONTROLLED Risk Level | LOW
|  |  | AFFECTED INDIVIDUALS |  |  |  | Additional Measures
Please note this risk assessment only covers risks that are inherent to the building and do not cover any activities that take place within. All activities (including building work) should be covered by specific risk assessments generated by those who are responsible for the activity. | [6 empty] | WS.RA.BAL - Balcony / Top of Stairs WS.RA.E - Safety - Electrical WS.RA.G - Safety - Gas WS.RA.MH - Safety - Manual Handling
|  |  |  | Young People | ü
|  |  |  | Adult Leaders | ü
|  |  |  | Adults | ü
|  |  |  | Visitors | ü
Delivery Personnel
[7 empty] | Document Reference |  | WS.RA.AR
[7 empty] | Issue Status |  | Ver 1
[7 empty] | Issue Date |  | 2019-11-01
[7 empty] | Issued by |  | Neil Curtis
[7 empty] | Review Date |  | 2020-10-31
Issuers Signature
NB: This document and any amendments must be retained for a minimum of 5 years. In the event of an incident involving an individual aged 18 years or less this documentation must be retained until the individual reaches 21 years of age, this requirement overrides the minimum 5 year rule.

## Resources Room
|  | RISK ASSESSMENT | [6 empty] | Document Reference
WS.RA.RR
Resources Room
Activity | Hazards | Risks | UNCONTROLLED Risk Levels |  |  |  | Description of controls |  | CONTROLLED Risk Levels
|  |  |  | LIKELIHOOD |  |  | l | Floors to be swept/mopped, clear of any obstructions and |  | LIKELIHOOD
Resources Room | [7 empty] | liquid spillages to be cleaned immediately and warning
| Trailing Cables | Slip Trip & Fall Causing | [5 empty] | signage displayed.
| Furniture | Musculoskeletal Injuries |  | Most Likely | 5 | ü |  |  |  | Most Likely | 5
|  |  |  | Likely | 4 |  | l | Waste to be emptied by each building user |  | Likely | 4
|  |  |  | Possible | 3 |  |  |  |  | Possible | 3
| Carpet | Spread of infectious diseases |  | Unlikely | 2 |  | l | All plugs to be switched off when not in use. All mains |  | Unlikely | 2
| Spillage |  |  | Very Unlikely | 1 |  |  | equipment to be PAT tested annually. Electrical work will be |  | Very Unlikely | 1 | ü
undertaken by suitably qualified contractor. All young people
| Electricity | Risk of electrocution from electrical equipment in the room | [5 empty] | to be supervised when using electrical equipment.
|  |  |  | SEVERITY | [5 empty] | SEVERITY
[7 empty] | l | All furniture to be stored correctly and inspected routinely &
any defective items found are labelled and removed from use.
| Manual Handling Heavy Equipment or other objects | Various physical injuries could occur due to any of the potential hazards:-Ligament Damage, Tendon Damage, Muscle Strain |  | Extreme | 5 |  |  |  |  | Extreme | 5
|  |  |  | Major | 4 | ü | l | Room defects to be reported in defect book and to site manager. Rooms inspected routinely by caretaker. |  | Major | 4 | ü
|  |  |  | Moderate | 3 |  |  |  |  | Moderate | 3
| Faulty furniture i.e. broken legs, sharp edges etc |  |  | Minor | 2 |  |  |  |  | Minor | 2
|  |  |  | Negligible | 1 |  | l | Safety glass to be used |  | Negligible | 1
| Windows / Glass | Cuts & Lacerations |  | Risk Score deduced by multiplying Likelihood by Consequence |  |  | l | Adequate fire extinguishers to be in place |  | Risk Score deduced by multiplying Likelihood by Consequence
| Stored Items | Equipment Failing Causing |  |  |  |  | l | Equipment to be stored securley when not in use
|  | Musculoskeletal Injuries |  | Risk Score | 20 |  |  |  |  | Risk Score | 4
|  |  |  | Less than or equal to 5 | LOW |  |  |  |  | Less than or equal to 5 | LOW
|  |  |  | Between 6 and 12 | MEDIUM |  |  |  |  | Between 6 and 12 | MEDIUM
|  |  |  | Above 12 | HIGH |  |  |  |  | Above 12 | HIGH
|  |  |  | UNCONTROLLED Risk Level | HIGH |  |  |  |  | CONTROLLED Risk Level | LOW
|  |  | AFFECTED INDIVIDUALS |  |  |  | Additional Measures
Please note this risk assessment only covers risks that are inherent to the building and do not cover any activities that take place within. All activities (including building work) should be covered by specific risk assessments generated by those who are responsible for the activity. | [6 empty] | WS.RA.BAL - Balcony / Top of Stairs WS.RA.E - Safety - Electrical WS.RA.MH - Safety - Manual Handling
|  |  |  | Young People | ü
|  |  |  | Adult Leaders | ü
|  |  |  | Adults | ü
|  |  |  | Visitors | ü
Delivery Personnel
[7 empty] | Document Reference |  | WS.RA.RR
[7 empty] | Issue Status |  | Ver 1
[7 empty] | Issue Date |  | 2019-11-01
[7 empty] | Issued by |  | Neil Curtis
[7 empty] | Review Date |  | 2020-10-31
Issuers Signature
NB: This document and any amendments must be retained for a minimum of 5 years. In the event of an incident involving an individual aged 18 years or less this documentation must be retained until the individual reaches 21 years of age, this requirement overrides the minimum 5 year rule.

## Shop
|  | RISK ASSESSMENT | [6 empty] | Document Reference
WS.RA.SHP
Shop (inc Fitting Room)
Activity | Hazards | Risks | UNCONTROLLED Risk Levels |  |  |  | Description of controls |  | CONTROLLED Risk Levels
|  |  |  | LIKELIHOOD |  |  | l | Floors to be swept/mopped, clear of any obstructions and |  | LIKELIHOOD
Shop / Fitting Room | Wet / Dirty Floor | Slip Trip & Fall Causing Musculoskeletal Injuries | [5 empty] | liquid spillages to be cleaned immediately and warning
| Trailing Cables | [6 empty] | signage displayed.
| Furniture |  |  | Most Likely | 5 | ü |  |  |  | Most Likely | 5
| Carpet | Spread of infectious diseases |  | Likely | 4 |  | l | Waste to be emptied by each building user |  | Likely | 4
| Spillage |  |  | Possible | 3 |  |  |  |  | Possible | 3
|  |  |  | Unlikely | 2 |  | l | All plugs to be switched off when not in use. All mains |  | Unlikely | 2
| Electricity | Risk of electrocution from electrical equipment in the room |  | Very Unlikely | 1 |  |  | equipment to be PAT tested annually. Electrical work will be |  | Very Unlikely | 1 | ü
undertaken by suitably qualified contractor. All young people
to be supervised when using electrical equipment.
|  |  |  | SEVERITY | [5 empty] | SEVERITY
[7 empty] | l | All furniture to be stored correctly and inspected routinely &
| Manual Handling Heavy Equipment or other objects | Various physical injuries could occur due to any of the potential hazards:-Ligament Damage, Tendon Damage, Muscle Strain | [5 empty] | any defective items found are labelled and removed from use.
|  |  |  | Extreme | 5 |  |  |  |  | Extreme | 5
|  |  |  | Major | 4 | ü | l | Room defects to be reported in defect book and to site manager. Rooms inspected routinely by caretaker. |  | Major | 4 | ü
| Faulty furniture i.e. broken legs, sharp edges etc |  |  | Moderate | 3 |  |  |  |  | Moderate | 3
|  |  |  | Minor | 2 |  |  |  |  | Minor | 2
|  |  |  | Negligible | 1 |  | l | Safety glass to be used |  | Negligible | 1
| Glass Panels on counter | Cuts & Lacerations
|  |  |  | Risk Score deduced by multiplying Likelihood by Consequence |  |  | l | Adequate fire extinguishers to be in place |  | Risk Score deduced by multiplying Likelihood by Consequence
[7 empty] | l | Equipment to be stored securley when not in use
|  |  |  | Risk Score | 20 |  |  |  |  | Risk Score | 4
|  |  |  | Less than or equal to 5 | LOW |  |  |  |  | Less than or equal to 5 | LOW
|  |  |  | Between 6 and 12 | MEDIUM |  |  |  |  | Between 6 and 12 | MEDIUM
|  |  |  | Above 12 | HIGH |  |  |  |  | Above 12 | HIGH
|  |  |  | UNCONTROLLED Risk Level | HIGH |  |  |  |  | CONTROLLED Risk Level | LOW
|  |  | AFFECTED INDIVIDUALS |  |  |  | Additional Measures
Please note this risk assessment only covers risks that are inherent to the building and do not cover any activities that take place within. All activities (including building work) should be covered by specific risk assessments generated by those who are responsible for the activity. | [6 empty] | WS.RA.BAL - Balcony / Top of Stairs WS.RA.E - Safety - Electrical WS.RA.MH - Safety - Manual Handling
|  |  |  | Young People | ü
|  |  |  | Adult Leaders | ü
|  |  |  | Adults | ü
|  |  |  | Visitors | ü
|  |  |  | Delivery Personnel | ü
[7 empty] | Document Reference |  | WS.RA.SHP
[7 empty] | Issue Status |  | Ver 1
[7 empty] | Issue Date |  | 2019-11-01
[7 empty] | Issued by |  | Neil Curtis
[7 empty] | Review Date |  | 2020-10-31
Issuers Signature
NB: This document and any amendments must be retained for a minimum of 5 years. In the event of an incident involving an individual aged 18 years or less this documentation must be retained until the individual reaches 21 years of age, this requirement overrides the minimum 5 year rule.

## Back Training Room
|  | RISK ASSESSMENT | [6 empty] | Document Reference
WS.RA.TRR
Back Training Room
Activity | Hazards | Risks | UNCONTROLLED Risk Levels |  |  |  | Description of controls |  | CONTROLLED Risk Levels
|  |  |  | LIKELIHOOD |  |  | l | Floors to be swept/mopped, clear of any obstructions and |  | LIKELIHOOD
Back Upper Training Room | Wet / Dirty Floor | Slip Trip & Fall Causing Musculoskeletal Injuries | [5 empty] | liquid spillages to be cleaned immediately and warning
| Trailing Cables | [6 empty] | signage displayed.
| Furniture |  |  | Most Likely | 5 |  |  |  |  | Most Likely | 5
| Worn Carpet | Spread of infectious diseases |  | Likely | 4 | ü | l | Waste to be emptied by each building user |  | Likely | 4
| Spillage |  |  | Possible | 3 |  |  |  |  | Possible | 3
|  |  |  | Unlikely | 2 |  | l | All plugs to be switched off when not in use. All mains |  | Unlikely | 2
| Electricity | Risk of electrocution from electrical equipment in the room |  | Very Unlikely | 1 |  |  | equipment to be PAT tested annually. Electrical work will be |  | Very Unlikely | 1 | ü
undertaken by suitably qualified contractor. All young people
to be supervised when using electrical equipment.
|  |  |  | SEVERITY | [5 empty] | SEVERITY
[7 empty] | l | All furniture to be stored correctly and inspected routinely &
| Manual Handling Heavy Equipment or other objects | Various physical injuries could occur due to any of the potential hazards:-Ligament Damage, Tendon Damage, Muscle Strain | [5 empty] | any defective items found are labelled and removed from use.
|  |  |  | Extreme | 5 |  |  |  |  | Extreme | 5
|  |  |  | Major | 4 | ü | l | Room defects to be reported in defect book and to site manager. Rooms inspected routinely by caretaker. |  | Major | 4 | ü
| Faulty furniture i.e. broken legs, sharp edges etc |  |  | Moderate | 3 |  |  |  |  | Moderate | 3
|  |  |  | Minor | 2 |  |  |  |  | Minor | 2
|  |  |  | Negligible | 1 |  | l | Safety glass to be used |  | Negligible | 1
| Windows Glass Panel | Cuts & Lacerations
|  |  |  | Risk Score deduced by multiplying Likelihood by Consequence |  |  | l | Adequate fire extinguishers to be in place |  | Risk Score deduced by multiplying Likelihood by Consequence
[7 empty] | l | Equipment to be stored securley when not in use
|  |  |  | Risk Score | 16 |  |  |  |  | Risk Score | 4
[7 empty] | l | Fire exit to be kept clear of obstructions at all times
|  |  |  | Less than or equal to 5 | LOW |  |  |  |  | Less than or equal to 5 | LOW
|  |  |  | Between 6 and 12 | MEDIUM |  |  |  |  | Between 6 and 12 | MEDIUM
|  |  |  | Above 12 | HIGH |  |  |  |  | Above 12 | HIGH
|  |  |  | UNCONTROLLED Risk Level | HIGH |  |  |  |  | CONTROLLED Risk Level | LOW
|  |  | AFFECTED INDIVIDUALS |  |  |  | Additional Measures
Please note this risk assessment only covers risks that are inherent to the building and do not cover any activities that take place within. All activities (including building work) should be covered by specific risk assessments generated by those who are responsible for the activity. | [6 empty] | WS.RA.BAL - Balcony / Top of Stairs WS.RA.E - Safety - Electrical WS.RA.G - Safety - Gas WS.RA.MH - Safety - Manual Handling
|  |  |  | Young People | ü
|  |  |  | Adult Leaders | ü
|  |  |  | Adults | ü
|  |  |  | Visitors | ü
Delivery Personnel
[7 empty] | Document Reference |  | WS.RA.TRR
[7 empty] | Issue Status |  | Ver 1
[7 empty] | Issue Date |  | 2019-11-01
[7 empty] | Issued by |  | Neil Curtis
[7 empty] | Review Date |  | 2020-10-31
Issuers Signature
NB: This document and any amendments must be retained for a minimum of 5 years. In the event of an incident involving an individual aged 18 years or less this documentation must be retained until the individual reaches 21 years of age, this requirement overrides the minimum 5 year rule.

## Car Park
|  | RISK ASSESSMENT | [6 empty] | Document Reference
WS.RA.CP
Safety - Working on a Car Parking Area
Activity | Hazards | Risks | UNCONTROLLED Risk Levels |  |  |  | Description of controls |  | CONTROLLED Risk Levels
|  |  |  | LIKELIHOOD | [5 empty] | LIKELIHOOD
[7 empty] | l | Ensure lighting is adequate in the area of any activity and to
Car Park Area of Scout HQ | Ground uneven, damaged or changes of level. | Slips, Trips & Falls. | [5 empty] | take action such as the use of additional suitable, secured
|  |  |  | Most Likely | 5 | ü |  | portable lighting |  | Most Likely | 5
|  | Death, Electric Shock, Cuts, Abrasions and Muscular Strains. |  | Likely | 4 |  |  |  |  | Likely | 4
| Poor access and egress |  |  | Possible | 3 |  | l | Ensure the removal of all combustable material within the |  | Possible | 3
|  |  |  | Unlikely | 2 |  |  | working and surrounding area of the building |  | Unlikely | 2
|  |  |  | Very Unlikely | 1 |  |  |  |  | Very Unlikely | 1 | ü
|  | Eye damage and Death or injury arising from the inability to see hazards. |  |  |  |  | l | Car park defects to be reported in defect book and to site
| Poor lighting. | [6 empty] | manager. Car park to be inspected routinely by caretaker.
|  |  |  | SEVERITY | [5 empty] | SEVERITY
[7 empty] | l | No fires to be lit within 10 metres of the building
| Noise | Hearing Damage.
|  |  |  | Extreme | 5 | ü | l | Reduced speed limit to be defined within the building parking |  | Extreme | 5 | ü
| Air Quality | Risk to those with Breathing Difficulties. |  | Major | 4 |  |  | area |  | Major | 4
|  |  |  | Moderate | 3 |  |  |  |  | Moderate | 3
| Weather Extremes | Discomfort & possible ill health from exposure to weather extremes |  | Minor | 2 |  |  |  |  | Minor | 2
|  |  |  | Negligible | 1 |  |  |  |  | Negligible | 1
|  |  |  | Risk Score deduced by multiplying Likelihood by Consequence | [5 empty] | Risk Score deduced by multiplying Likelihood by Consequence
| Fire | Death, Burns or serious injury.
|  |  |  | Risk Score | 25 |  |  |  |  | Risk Score | 5
| Rubbish / Waste Bins | Fire
|  | Environmental issues |  | Less than or equal to 5 | LOW |  |  |  |  | Less than or equal to 5 | LOW
|  |  |  | Between 6 and 12 | MEDIUM |  |  |  |  | Between 6 and 12 | MEDIUM
| Violence | Personal Injury |  | Above 12 | HIGH |  |  |  |  | Above 12 | HIGH
| Moving Vehicles | Risk of being struck by vehicles and injured |  | UNCONTROLLED Risk Level | HIGH |  |  |  |  | CONTROLLED Risk Level | LOW
|  |  | AFFECTED INDIVIDUALS |  |  |  | Additional Measures
WS.RA.FR - FOYER / RECEPTION WS.RA.E - Safety - Electrical WS.RA.G - Safety - Gas WS.RA.MH - Safety - Manual Handling
Please note this risk assessment only covers risks that are inherent to the building and do not cover any activities that take place within. All activities (including building work) should be covered by specific risk assessments generated by those who are responsible for the activity. |  |  |  | Young People | ü
|  |  |  | Adult Leaders | ü
|  |  |  | Adults | ü
|  |  |  | Visitors | ü
|  |  |  | Delivery Personnel | ü
|  |  |  | Others (specify) | ü
[7 empty] | Document Reference |  | WS.RA.CP
|  |  |  | Royal Mail Worker |  |  | Issue Status |  | Ver 1
[7 empty] | Issue Date |  | 2019-11-01
[7 empty] | Issued by |  | Neil Curtis
[7 empty] | Review Date |  | 2020-10-31
Issuers Signature
NB: This document and any amendments must be retained for a minimum of 5 years. In the event of an incident involving an individual aged 18 years or less this documentation must be retained until the individual reaches 21 years of age, this requirement overrides the minimum 5 year rule.

## Manual Handling
|  | RISK ASSESSMENT | [6 empty] | Document Reference
WS.RS.MH
Manual Handling
Activity | Hazards | Risks | UNCONTROLLED Risk Levels |  |  |  | Description of controls |  | CONTROLLED Risk Levels
|  |  |  | LIKELIHOOD | [5 empty] | LIKELIHOOD
Manual Handling Heavy Equipment or other objects | Poor Organisation and or Communication during the carrying operation. | Various physical injuries could occur due to any of the potential hazards:- Impact or Crush Injuries Broken or Fracture Bones Spinal Disc damage Ruptures Hernias Ligament damage Tendon damage Muscle Strain |  |  |  |  | l | Adults to undertake assessment of Manual Handling task prior to undertaking any lifting tasks whatsoever.
|  |  |  | Most Likely | 5 |  |  | This assessment is to take into account object weight and all work area conditions including Floor, Lighting, Confined Spaces and distance of the carrying operation. |  | Most Likely | 5
|  |  |  | Likely | 4 | ü |  |  |  | Likely | 4
| Work area factors, Floor, Lighting, Confined Spaces and distance of carrying operation. |  |  | Possible | 3 |  |  |  |  | Possible | 3
|  |  |  | Unlikely | 2 |  |  |  |  | Unlikely | 2
|  |  |  | Very Unlikely | 1 |  | l | Only adults trained in Manual Handling Safe Lifting Techniques to undertake heavy or awkward lifting tasks. |  | Very Unlikely | 1 | ü
| Excessive loads and poor individual physical ability and suitability for weight and or distance of carrying operation. |  |  | SEVERITY |  |  | l | Adults to be physically capable of the lifting task. |  | SEVERITY
[7 empty] | l | Adults to use well maintained mechanical lifting and moving equipment such as Trolleys, Sack Trucks, Hoists & lifts wherever possible to reduce physical effort.
|  |  |  | Extreme | 5 |  |  |  |  | Extreme | 5
|  |  |  | Major | 4 | ü |  |  |  | Major | 4 | ü
|  |  |  | Moderate | 3 |  |  |  |  | Moderate | 3
| Incorrect or lack of PPE |  |  | Minor | 2 |  | l | Adults to check condition of all lifting and moving equipment prior to use to ensure it suitability and condition. If faulty or deemed to be unsafe, equipment to be removed from use and reported to site manager. |  | Minor | 2
|  |  |  | Negligible | 1 |  |  |  |  | Negligible | 1
Incorrect Lifting or Carrying Techniques
|  |  |  | Risk Score deduced by multiplying Likelihood by Consequence | [5 empty] | Risk Score deduced by multiplying Likelihood by Consequence
[7 empty] | l | Where more than one person is involved, clear verbal communication is to be maintained at all times and visual contact wherever possible.
|  |  |  | Risk Score | 16 |  |  |  |  | Risk Score | 4
|  |  |  | Less than or equal to 5 | LOW |  |  |  |  | Less than or equal to 5 | LOW
|  |  |  | Between 6 and 12 | MEDIUM |  | l | Appropriate PPE to be used |  | Between 6 and 12 | MEDIUM
|  |  |  | Above 12 | HIGH |  |  |  |  | Above 12 | HIGH
|  |  |  | UNCONTROLLED Risk Level | HIGH |  |  |  |  | CONTROLLED Risk Level | LOW
|  |  | AFFECTED INDIVIDUALS |  |  |  | Additional Measures
Manual Handling Lifting and Lowering Guildelines
|  |  |  | Young People | ü
|  |  |  | Adult Leaders | ü
|  |  |  | Adults | ü
|  |  |  | Visitors | ü
|  |  |  | Delivery Personnel | ü
Others (specify)
[7 empty] | Document Reference |  | WS.RS.MH
[7 empty] | Issue Status |  | Ver 1
[7 empty] | Issue Date |  | 2019-11-01
[7 empty] | Issued by |  | Neil Curtis
[7 empty] | Review Date |  | 2020-10-31
Issuers Signature
For pushing and pulling, you should make a more detailed assessment if: - there are extra risk factors like uneven floors or constricted spaces - the worker can’t push or pull the load with their hands between knuckle and shoulder height; - the load has to be moved for more than about 20 m without a break
NB: This document and any amendments must be retained for a minimum of 5 years. In the event of an incident involving an individual aged 18 years or less this documentation must be retained until the individual reaches 21 years of age, this requirement overrides the minimum 5 year rule.

## Electric
|  | RISK ASSESSMENT | [6 empty] | Document Reference
WS.RA.E
Safety - Electrical
Activity | Hazards | Risks | UNCONTROLLED Risk Levels |  |  |  | Description of controls |  | CONTROLLED Risk Levels
|  |  |  | LIKELIHOOD | [5 empty] | LIKELIHOOD
Working with Electricity & Electrical Appliances | Electricity, Fire, Faulty Earth Bonding, Faulty, Incorrect or Loose Wiring, incorrect Fusing and or contact with Water or other conductive substances. | Death or Electric shock, Internal & External Burns or Major injury. |  |  |  |  | l | Only trained operators to use electrical appliance(s)
|  |  |  | Most Likely | 5 | ü | l | All young people to be supervised when using electrical |  | Most Likely | 5
|  |  |  | Likely | 4 |  |  | equipment |  | Likely | 4
|  |  |  | Possible | 3 |  |  |  |  | Possible | 3
|  |  |  | Unlikely | 2 |  | l | All plugs to be switched off when not in use. . |  | Unlikely | 2
|  |  |  | Very Unlikely | 1 |  |  |  |  | Very Unlikely | 1 | ü
[7 empty] | l | All mains equipment to be PAT tested annually by a competent
qualified person
|  |  |  | SEVERITY | [5 empty] | SEVERITY
[7 empty] | l | Electrical defects to be reported to site manager. Isolate appliance(s), label defective and remove from use
|  |  |  | Extreme | 5 |  |  |  |  | Extreme | 5
|  |  |  | Major | 4 | ü | l | Particular care should be taken to avoid physical contact with electrical components during the operation of an appliance |  | Major | 4 | ü
|  |  |  | Moderate | 3 |  |  |  |  | Moderate | 3
|  |  |  | Minor | 2 |  |  |  |  | Minor | 2
|  |  |  | Negligible | 1 |  |  |  |  | Negligible | 1
|  |  |  | Risk Score deduced by multiplying Likelihood by Consequence |  |  | REPAIRS TO ELECTRICAL APPLIANCES |  |  | Risk Score deduced by multiplying Likelihood by Consequence
[7 empty] | l | Only fully trained engineers with proven competence to undertake work on electrical equipment.
|  |  |  | Risk Score | 20 |  |  |  |  | Risk Score | 4
[7 empty] | l | Proven tested GS38 Compliant Voltage Indicator to be used to ascertain power supply has been disconnected and equipment(s) electrical circuits are dead.
|  |  |  | Less than or equal to 5 | LOW |  |  |  |  | Less than or equal to 5 | LOW
|  |  |  | Between 6 and 12 | MEDIUM |  |  |  |  | Between 6 and 12 | MEDIUM
|  |  |  | Above 12 | HIGH |  |  |  |  | Above 12 | HIGH
|  |  |  | UNCONTROLLED Risk Level | HIGH |  |  |  |  | CONTROLLED Risk Level | LOW
|  |  | AFFECTED INDIVIDUALS |  |  |  | Additional Measures
Please note this risk assessment only covers risks that are inherent to the building and do not cover any activities that take place within. All activities (including building work) should be covered by specific risk assessments generated by those who are responsible for the activity. | [6 empty] | WS.RA.KTN - KITCHEN WS.RA.G - Safety - Gas WS.RA.MH - Safety - Manual Handling
|  |  |  | Maintenance Personnel | ü
|  |  |  | Young People | ü
|  |  |  | Adult Leaders | ü
|  |  |  | Adults | ü
|  |  |  | Visitors | ü
Others (specify)
[7 empty] | Document Reference |  | WS.RA.E
[7 empty] | Issue Status |  | Ver 1
[7 empty] | Issue Date |  | 2019-11-01
[7 empty] | Issued by |  | Neil Curtis
[7 empty] | Review Date |  | 2020-10-31
Issuers Signature
NB: This document and any amendments must be retained for a minimum of 5 years. In the event of an incident involving an individual aged 18 years or less this documentation must be retained until the individual reaches 21 years of age, this requirement overrides the minimum 5 year rule.

## Gas
|  | RISK ASSESSMENT | [6 empty] | Document Reference
WS.RA.G
Safety - Gas
Activity | Hazards | Risks | UNCONTROLLED Risk Levels |  |  |  | Description of controls |  | CONTROLLED Risk Levels
|  |  |  | LIKELIHOOD |  |  | USE OF GAS APPALIANCES |  |  | LIKELIHOOD
Working with Gas | Gas Leaks. | Death, Personal Injury or injury to others, total destruction of or structural damage to the premises from explosion and or fire. |  |  |  |  | l | Only trained operators to use gas appliance(s)
|  |  |  | Most Likely | 5 | ü | l | Ensure adequate ventilation in when gas appliance(s) |  | Most Likely | 5
|  |  |  | Likely | 4 |  |  | are in use. |  | Likely | 4
|  |  |  | Possible | 3 |  |  |  |  | Possible | 3
|  |  |  | Unlikely | 2 |  | l | Ensure the use of heat proof gloves |  | Unlikely | 2
| Noxious and dangerous gases and fumes including Carbon Monoxide. | Death, Personal Injury or injury to others, caused by the release into the atmosphere of noxious gases. |  | Very Unlikely | 1 |  |  |  |  | Very Unlikely | 1 | ü
[7 empty] | l | Young people to be supervised at all times when using gas
appliances
|  |  |  | SEVERITY | [5 empty] | SEVERITY
[7 empty] | l | Gas defects to be reported to site manager, warning signage
to be deployed and equipment isolated or removed from use
| Lack of Ventilation | Asphyxia due to inadequate ventilation |  | Extreme | 5 | ü |  |  |  | Extreme | 5 | ü
|  |  |  | Major | 4 |  | l | Equipment to be serviced annually by approved Gas Safe . |  | Major | 4
|  |  |  | Moderate | 3 |  |  | engineer. |  | Moderate | 3
| Fire | Death, burns or serious injury. |  | Minor | 2 |  | REPAIRS TO GAS APPALIANCES |  |  | Minor | 2
|  |  |  | Negligible | 1 |  | l | Only fully trained engineers with proven competence and holding accreditation as prescribed under the 'Gas Installation and Use Regulations 1998' to undertake repairs to gas appliances and pipework |  | Negligible | 1
| Flames & Hot Surfaces | Burns from naked flames |  | Risk Score deduced by multiplying Likelihood by Consequence | [5 empty] | Risk Score deduced by multiplying Likelihood by Consequence
or hot surface.
|  |  |  | Risk Score | 25 |  | l | Engineers will abide by the gas industries guidelines and procedures as laid down in the various and relevant documents and approved codes of practice and the rules of the 'Gas Installation and use Regulations 1998'. |  | Risk Score | 5
|  |  |  | Less than or equal to 5 | LOW |  |  |  |  | Less than or equal to 5 | LOW
|  |  |  | Between 6 and 12 | MEDIUM |  |  |  |  | Between 6 and 12 | MEDIUM
|  |  |  | Above 12 | HIGH |  |  |  |  | Above 12 | HIGH
[7 empty] | l | All work on equipment will be carried out in accordance with the Risk Assessments relevant to that particular equipment type.
|  |  |  | UNCONTROLLED Risk Level | HIGH |  |  |  |  | CONTROLLED Risk Level | LOW
|  |  | AFFECTED INDIVIDUALS |  |  |  | Additional Measures
Please note this risk assessment only covers risks that are inherent to the building and do not cover any activities that take place within. All activities (including building work) should be covered by specific risk assessments generated by those who are responsible for the activity. | [6 empty] | WS.RA.KTN - KITCHEN WS.RA.E - Safety - Electrical WS.RA.MH - Safety - Manual Handling
|  |  |  | Maintenance Personnel | ü
|  |  |  | Young People | ü
|  |  |  | Adult Leaders | ü
|  |  |  | Adults | ü
|  |  |  | Visitors | ü
|  |  |  | Others (specify) | ü
[7 empty] | Document Reference |  | WS.RA.G
|  |  |  | Passers by |  |  | Issue Status |  | Ver 1
[7 empty] | Issue Date |  | 2019-11-01
[7 empty] | Issued by |  | Neil Curtis
[7 empty] | Review Date |  | 2020-10-31
Issuers Signature
NB: This document and any amendments must be retained for a minimum of 5 years. In the event of an incident involving an individual aged 18 years or less this documentation must be retained until the individual reaches 21 years of age, this requirement overrides the minimum 5 year rule.